## TB3-EL-TC-30056
Consolidated Power Projects Project Details |  |  |  | Client Project Details
CPP Project Name: |  |  |  | Client Project Title:
CPP Job No: |  |  |  | Client Project Number
Bay / Cubicle / Panel Name: |  |  |  | Site Location:
CPP ITC Reference Number:
ITP Prepared by: |  |  |  | Client Checked by: | Name:
Position: |  |  |  |  | Position:
Date: |  |  |  |  | Signature:
Checked by: |  | Name: |  |  | Date:
Position:
Signature:
Date:
Tested by:
Test Commencement Date:
LINE No: | Test Category / Function |  | Acceptance Criteria |  |  | Result / Notes | Pass/Fail
1 | Control Cabinet
2 | External connections |  | Correct and green lined as per schematics
3 | Manufacturer's wiring |  | Matches supplied drawings
4 | DC supplies |  | Free of short circuits
5 | Visual inspection |  | No apparent damage Transport padding material has been removed
6 | Neutral Earthing Transformer
7 | Nameplate Photo: |  | Matches: -Purchase Order -Functional Design Specification
8
9
10
11
12
13
14
15
16
17 | Measured Winding resistance |  | As per nameplate
18 | Guard Protection Trips - functional checks |  | Guard protection operates appropriate circuit breaker
19 | Oil & Temperature indicator settings |  | Oil & Temperature indicator settings correct
20 | Insulation resistance @5000VDC for 60s) |  | ≥1GΩ
22 | Additional Tests
23
24
25
26
27
28
29
30
NOTES, COMMENTS OR OTHER INFORMATION
ITP Completed (name): (CPP Project Commissioning Officer)
Signature:
Date: