## TB3-EL-TC-30090
Consolidated Power Projects Project Details |  |  |  | Client Project Details
CPP Project Name: |  |  |  | Client Project Title:
CPP Job No: |  |  |  | Client Project Number / Separable Portion / Stage
Bay / Cubicle / Panel Name: |  |  |  | Site Location:
Bay / Cubicle / Panel Number:
ITP Prepared by: |  |  |  | Client Checked by: | Name:
Position: |  |  |  |  | Position:
Date: |  |  |  |  | Signature:
Checked by: |  | Name: |  |  | Date:
Position:
Signature:
Date:
Tested by:
Test Commencement Date:
LINE No: | Test Category / Function |  | Acceptance Criteria |  |  | Result / Notes | Pass/Fail
1 | Panel Construction
2 | Door layout and labelling |  | As per 'Front Panel Layout' drawing
3 | Interior layout and labelling |  | As per 'Back Panel Layout' drawing
4 | Panel earth |  | As per Earthing Single Line Diagram
5 | Fuse / MCB ratings |  | As per schematics
6 | Visual inspection |  | No apparent damage
7 | Wiring
8 | Terminal labels |  | As per schematics
9 | Internal panel wiring
10 | Auxiliary Equipment
11 | Yard light controls |  | Working correctly
12 | Yard light timer |  | Set up as per client's requirements
13 | Auto-changeover controller |  | Set up correctly
14 | Indication lamps |  | Working correctly
15 | Additional Tests
16
17
18
19
20
21
22
23
NOTES, COMMENTS OR OTHER INFORMATION
ITP Completed (name): (CPP Project Commissioning Officer)
Signature:
Date: