## TB3-EL-TC-30100
Consolidated Power Projects Project Details |  |  |  | Client Project Details
CPP Project Name: |  |  |  | Client Project Title:
CPP Job No: |  |  |  | Client Project Number
Bay / Cubicle / Panel Name: |  |  |  | Site Location:
Bay / Cubicle / Panel Number:
ITP Prepared by: |  |  |  | Client Checked by: | Name:
Position: |  |  |  |  | Position:
Date: |  |  |  |  | Signature:
Checked by: |  | Name: |  |  | Date:
Position:
Signature:
Date:
Tested by:
Test Commencement Date:
LINE No: | Test Category / Function |  | Acceptance Criteria |  |  | Result / Notes | Pass/Fail
1 | Supplier Handover
2 | Commissioning documentation |  | Signed off and handed over
3 | Panel Construction
4 | Layout and labelling |  | As per layout drawing
5 | Panel earth |  | As per Earthing Single Line Diagram
6 | Fuse / MCB ratings |  | As per schematics
7 | Visual inspection |  | No apparent damage
8 | Wiring
9 | Terminal labels |  | As per schematics
10 | Internal panel wiring
11 | Auxiliary Equipment
12 | Controller |  | Relay outputs correctly configured
13 | Batteries |  | Correct number of units installed. No exposed terminals.
14 | X / Y Change-over switch |  | Switching between positions does not interrupt supply
15 | Additional Tests
16
17
18
19
20
21
22
23
NOTES, COMMENTS OR OTHER INFORMATION
ITP Completed (name): (CPP Project Commissioning Officer)
Signature:
Date: